## Slide 1: MAX Multi-ton Argon Xenon
University of California, Los Angeles
Department of Physics and Astronomy
arisaka@physics.ucla.edu
Katsushi Arisaka

## Slide 2: MAX - Multi-ton Argon & Xenon
UMass Amherst, Arizona State University
Augustana College, Black Hills State University
Coimbra University, Columbia University
Fermilab, University of Houston, INAF, LNGS
MIT, University of Münster, University of Notre Dame
Princeton University, Rice University, Temple University
UCLA, Univesity of Virginia, Waseda University
University of Zürich
MAX Collaboration = XENON + DarkSide

## Slide 3: G2 and G3 facilities at DUSEL
 | G2 | G3
Sensitivity | < 10-46 cm2 | < 10-47 cm2
Target Mass | ~ 1 Ton | ~ 10 Ton
Cost | $15M - $20M | ~ $50M
defined by PASAG

## Slide 4: 90% CL Limits of SI Cross Section
Xe 1 ton
Xe 10 ton
Ar 5 ton
Ar 50 ton
XENON100
DAMA
CDMS
XENON10
G2
G3

## Slide 5: MAX G2 Detector
1 m
2 m
Xe
2 ton (1 ton)
= XENON1T
40Ar
10 ton
(5 ton)
3” QUPID x 121 (Top)
3” QUPID x 121 (Bottom)
3” QUPID x 595 (Top)
6” QUPID x 825 (Side/Bottom)

## Slide 6
MAX G3 Detector
Xe
20 ton
(10 ton)
2 m
4m
40Ar
70 ton
(50 ton)
6” QUPID x 3746
3” QUPID x 595 (Top)
6” QUPID x 825 (Side/Bottom)

## Slide 7
MAX Shielding Structure
Water Tank
Liquid
Scinti
Water Tank
Xe 20 ton (10 ton)
40Ar 70 ton (50 ton)
18 m
8 m
Liquid
Scinti
Xe
Ar

## Slide 8
MAX Facility at DUSEL
Xe 20 ton
(10 ton)
Ar 70 ton
(50 ton)
Liquid Scintillator
(8 m ϕ x 8 m H )
Water Tank
(18 m ϕ x 18 m H)
Liquid Scintillator
(8 m ϕ x 8 m H )

## Slide 9: (SI) WIMP Energy Spectrum for Various Targets (Cross Section = 10-45cm2)
Xe-132
Ge-73
Ar-40
Si-28
Ne-20

## Slide 10: (SI) WIMP Energy Spectrum for LXe (Cross Section = 10-45cm2)
7 keVr
45 keVr
Xenon
200 GeV
50 GeV
100 GeV
1000 GeV
500 GeV
20 GeV

## Slide 11: (SI) WIMP Energy Spectrum for LXe (Cross Section = 10-45cm2)
20 GeV
200 GeV
50 GeV
100 GeV
1000 GeV
500 GeV
7 keVr
45 keVr
Xenon
Winter
Summer

## Slide 12: (SI) WIMP Energy Spectrum for LAr (Cross Section = 10-45cm2)
20 GeV
200 GeV
50 GeV
100 GeV
1000 GeV
500 GeV
200 keVr
45 keVr
Argon
(w/ pulse shaping)

## Slide 13: (SI) WIMP Energy Spectrum for LAr (Cross Section = 10-45cm2)
200 GeV
50 GeV
100 GeV
45 keVr
200 keVr
1000 GeV
500 GeV
Argon
(w/ pulse shaping)
Winter
Summer
20 GeV

## Slide 14: 1-σ Error of WIMP Mass vs SI Cross Section (10 ton*year Xe and 50 ton*year Ar)
Argon
(42 events)
Xenon
(56 events)
G3
10-46 cm2
100 GeV
10-45
10-46
10-47
(40% eff.)
(80% eff.)

## Slide 15: 1-σ Error of WIMP Mass vs SI Cross Section (10 ton*year Xe and 50 ton*year Ar)
G3
50 GeV
100 GeV
200 GeV
500 GeV
10-45
10-46
10-47
10-46 cm2
Argon
Xenon

## Slide 16: 1-σ Error of WIMP Mass vs SI Cross Section (10 ton*year Xe and 50 ton*year Ar)
G3
50 GeV
100 GeV
200 GeV
500 GeV
10-45 cm2
Argon
Xenon

## Slide 17: ±1σ Error of Annual Modulation Amplitude vs WIMP Mass (10 ton*year Xe and 50 ton*year Ar, Cross Section = 10-45cm2)
Argon
Xenon
10-45 cm2

## Slide 18: ±1σ Error of Annual Modulation Amplitude vs WIMP Mass (10 ton*year Xe and 50 ton*year Ar, Cross Section = 10-44cm2)
Argon
Xenon
10-44 cm2

## Slide 19
Xe 10 ton (Ar 5 ton) Detector Structure
Xe 20 ton
(or Ar 10 ton)
Top: 3” QUPID x 595
Side: 6” QUPID x 672
Bottom: 6” QUPID x 163
Xe10 ton
(or Ar 5 ton)
20 cm
2.1m
1.9m

## Slide 20
Xe 10 ton (Ar 5 ton) Top-Corner
3” QUPID
6” QUPID
Gas Xe (Ar)
Liquid Xe (Ar)
Mesh Wire

## Slide 21: QUPID (QUartz Photon Intensifying Detector)
Quartz
Photo Cathode
(-6 kV)
APD (0 V)
Quartz
Quartz
Al coating
APD (0 V)
Photo Cathode
(-6 kV)
US Patent (No. 5374826) pending.

## Slide 22: Comparison of Low-radioactive Photon Detectors from Hamamatsu
QUPID
3 inch
R8520
1 inch
R8778
2 inch
XENON10
XENON100
LUX
(XMASS)
XENON1Ton
DarkSide50
MAX

## Slide 23
New 3” QUPID (Production Version)

## Slide 24: Spectrum of QUPIDs and Background (4 QUPIDs x 1 month data)
4 QUPIDs
No QUPID
QUPIDs are invisible!
11/16/12
Katsushi Arisaka, UCLA
24
 | 90% CL
238U | < 0.36 mBq
232Th | < 0.30 mBq
60Co | 0.12 ± 0.06 mBq
40K | < 1.96 mBq

## Slide 25
Cryogenic System at UCLA (Hanguo Wang’s Lab)

## Slide 26: Qupid Pictures
QUPID in the Cooling System

## Slide 27: Electron Bombardment Gain (QHA26)
25 oC
-100 oC
G = 800

## Slide 28: APD Gain and Leakage (QHA26)
-100 oC
-50 oC
25 oC
-100 oC
-50 oC
Gain
Leakage Current
25 oC
G = 200

## Slide 29: Systematic Diagram of MAX Readout
MAX Detector
6kV
(Photocathode)
Amp
X 40
QUPID
G = 800 x 200 = 160,000
- 430 V
(APD Bias)
10 M
APD
100 k
10 nF
(1 kV)
Coax Cable (2m)
APD Receiver
500 MHz Digitizer
High Range ( < 4 MeV)
Low Range ( < 100 keV)
FADC
500 MHz
12 Bits
FADC
500 MHz
12 Bits
FPGA
8 ch / board
8 ch / board

## Slide 30: 1, 2 and 3 PE Distribution with 2m cable
2 PE
3 PE
1 PE

## Slide 31: Summary of QUPID
Extremely low radioactivity: < 1 mBq
  < 0.1 neutron / year
  < 10 times lower than conventional low radioactive PMTs.
Large diameter: 3 inch
  6 inch is also under investigation.
Special Photocathode: Bialkali LT
  > 30 % QE at 170 – 450 nm
  Low resistivity even at Liquid Ar temperature (- 185 oC)
True photon counting.
  1, 2, 3… photoelectron peaks clearly visible.
  100% collection efficiency.
Simple HV supply.
  Common HV (-6 kV) for all QUPIDs
  Resister chain not necessary
Currently under operation in Liquid Xenon at UCLA!

## Slide 32: Expected No. of Photoelectrons per keV in Xe 10 ton (Abs. Length = 10 m, Scat. Length = 50 cm, QE = 30%)
PTFE on Side Wall (Reflectivity = 98%)
QUPIDs on Side Wall
~ 1.5 pe/keV
~ 3 pe/keV

## Slide 33
Xe 10 ton Gamma Background (After Multi-hit Cut and S2/S1 Cut)‏
02/25/10
Katsushi Arisaka, UCLA
33
100 GeV WIMP (10-45 cm2)
pp Solar Neutrino
 BG (0 cm shield)
Be7 Solar Neutrino
 BG (5 cm shield)
2 DBD (1022 yrs)

## Slide 34
Expected Background from Gammas and pp Solar Neutrinos (100 Year, Multi-hit Cut, S2/S1 Cut)‏
02/25/10
Katsushi Arisaka, UCLA
34
2.3 /10 ton-year
(pp solar neutrino)
Xenon
10 ton
XENON100
5 × 10–8 DRU
’s from QUPID

## Slide 35: Xe 10 ton Neutron Background (100 Years)
0.81 n / year
1/8
1/4
Multi Hit Cut
Before Cuts
0.10 n / year
0.03 n / year
Liquid Scinti. Veto
Xenon
10 ton

## Slide 36: Ar 5 ton Neutron Background (100 Years)
13.3 n / year
1/17
1/8
Multi Hit Cut
Liquid Scinti. Veto
Before Cuts
0.78 n / year
0.10 n / year
Argon
5 ton

## Slide 37: Ar 50 ton Neutron Background (100 Years)
42 n / year
2.1 n / year
0.39 n / year
1/20
1/6
Multi Hit Cut
Liquid Scinti. Veto
Before Cuts
Argon
50 ton

## Slide 38: Summary of MAX G2/G3 & XAX
 |  | MAX G2 |  | MAX G3 |  | XAX | 
 |  | Xenon | Argon | Xenon | Argon | 129/131Xe | 136Xe (80%)
Dimension |  |  |  |  |  |  | 
 | Detector Size | 1m x 1m | 2m x 2m | 2m x 2m | 4m x 4m | 2m x 2m | 
 | Total Mass | 2.2 ton | 10 ton | 20 ton | 70 ton | 13 ton | 7 ton
 | Fiducial Mass | 1.1 ton | 5 ton | 10 ton | 50 ton | 6 ton | 4 ton
QUPID |  |  |  |  |  |  | 
 | Top | 121 (3") | 595 (3") | 595 (3") | 661 (6") | 595 (3") | 
 | Side | 0 | 672 (6") | 672 (6") | 2423 (6") | 672 (6") | 
 | Bottom | 121 (3") | 163 (6") | 163 (6") | 661 (6") | 163 (6") | 
No.WIMP / year (10-45 cm2) |  |  |  |  |  |  | 
 | Mass = 20 GeV | 23 | – | 230 | – | 138 | 92
 | 50 GeV | 71 | 25 | 710 | 250 | 426 | 284
 | 100 GeV | 56 | 42 | 560 | 420 | 336 | 224
 | 200 GeV | 33 | 36 | 330 | 360 | 198 | 132
 | 500 GeV | 14 | 19 | 140 | 190 | 84 | 56
Backgrounds / year |  |  |  |  |  |  | 
 | Gammas | 0.07 | 0.00 | 0.01 | 0.00 | 0.07 | 0.01
 | Neutrons (w/o LS) | 0.10 | 0.78 | 0.10 | 2.1 | 0.10 | 0.00
 | Neutrons (w/ LS) | 0.03 | 0.10 | 0.03 | 0.39 | 0.03 | 0.00
Neutrinos / year |  |  |  |  |  |  | 
 | 0ν DBD (1027 yr) | 0.4 | – | 3.3 | – | – | 30
 | pp-solar | – | – | – | – | 2500 | –
 | Supernova (10 kpc) | 11 | 14 | 95 | 141 | 56 | 39

## Slide 39: Conclusions
MAX is the ideal G3 dual detectors at DUSEL.
  10 Ton Xenon + 50 Ton Argon (fiducial)
  ~5 events each / year at 10-47 cm2
If the cross sections is > 10-46 cm2, precise determination of WIMP mass and cross section is possible.
  Two independent energy spectrums by Xenon & Argon
  Two independent annual modulations by Xenon & Argon
4π coverage by QUPID ensures high photon yield with no radioactivity.
  ~3 pe/ keV, < 1 mBq, < 0.1 neutron/year
  First applications on XENON 1ton and Darkside 50kg underway
  QUPID has been operated in Liquid Xenon successfully!