## Slide 1: Advanced Optical Microscopes and their Applications to Neuroscience
Katsushi Arisaka
(with Laurent Bentolila)
University of California, Los Angeles
Department of Physics and Astronomy

## Slide 2: Outline
Introduction
  Observations of Nature
  Principle of Microscopes (Laurent Bentolila)
Advanced Microscopes
  Super resolution (Laurent Bentolila)
  High-speed
Applications to Neuroscience
  High-speed motion and action potentials
  Neural networks
Future directions
  Voltage sensing dyes
  Optical Excitation

## Slide 3: Introduction

## Slide 4: Brain Universe
New York Times 8/21/2006
100 Billions Galaxies
100 Billions Neurons

## Slide 5: Observation of Natures

## Slide 6
Seven Phases of Cosmic Evolution
14 billion years ago
Origin of
Particles
Origin of
Structure
Origin of
Life
Origin of
Consciousness

## Slide 7: Andromeda
~100 Billions Stars in a Galaxy

## Slide 8
Keck Telescope
Subaru Telescope
Mauna Kea at Hawaii (4200m)

## Slide 9
Hubble Telescope

## Slide 10: Hubble Deep Field
~100 Billion Galaxies

## Slide 11: CERN and LHC in Geneva
27km Circumference
7+7=14 TeV

## Slide 12
LHC Tunnel with Magnets

## Slide 14
Sept 15, 2008 Issue
Particle detectors
constructed
at Westwood,
now at LHC, CERN

## Slide 15
First Event at LHC – Recreation of the Big Bang! (Nov 7, 2009)
CMS Detector

## Slide 16
Seven steps of cosmic evolution
14B years ago
Simple
Coherent Complex System
Spontaneous Symmetry Breaking

## Slide 17: What is Life?
Emergent Property
  Strongly-interacting, complex system
  ~104 of different proteins in one cell
  ~1014 cells in one life
  ~1011 neurons in our brain, ~1014 connections
Continuous, countless “symmetry breaking” towards coherent states
  Origin of life
  Evolution of life
  Growth from a single cell to a multi-cell body
  Learning and memory

## Slide 18: How to observe the Life and Consciousness ?
We must look for “Live Life”
Exactly the same way as we look for the “Origin of Universe”
Telescope  Microscope
Take advantages of the state of art “Photon Detectors” in particle physics.

## Slide 19
Accelerator
Microscope
Telescope
Seven steps of cosmic evolution
14B years ago
Spontaneous Symmetry Breaking

## Slide 20: Principle of Optical Microscopes

## Slide 21: A Brief Overview of the Physics of Light
Origin of a Light Wave: When the valence electrons of atoms absorb energy, they are lifted from a ground level to more energetic states. After a very short time, the electrons drop back to ground level, releasing the energy in the form of a photon, an energy quantum associated with an electromagnetic wave.
Direction of Propagation
Properties of a Light Wave:
has an electric vector E and a magnetic vector B.
has an wave length l, an amplitude and polarity (E).
Color Vision of the Human Eye:
Violet 410 nm
Blue 475 nm
Green 530 nm
Yellow 580 nm
Red 670 nm
= “wave length”
High energy photon = shorter l = Bluer color
Low energy photon = longer l = redder color
= natural white light

## Slide 22
Modern Microscope Component Identification
1847
1857

## Slide 23: Light Microscopy Timeline
http://www.nature.com/milestones/light-microscopy

## Slide 24: Some Properties of Lenses
Refraction: When a beam of light passes between substances with different refractive indices, such as air (n=1) into water (n=1.333), it is bent in a characteristic fashion (wavelength dependant).
Focal Length:
Lens Aberrations & Corrections :
Focal plane
Curvature of Field: Plan
Chromatic: Apo
Spherical: Fluorite

## Slide 25: Key Component: the Objective
Example: Planapo 100x/1.30 oil
Objective Design Criteria Most Critical for Fluorescence:
Numerical Aperture
Immersion choices
Magnification
Transmission UV/Vis/IR
Chromatic Correction
Coverslip vs Chamber
Optical Correction
Working Distance
Notes: microscope objectives and their impact on fluorescence imaging.
While we won’t have time to review all the criteria used in the design of an objective lens, we wanted to touch on three characteristics that are important in fluorescence imaging.
We will touch on the characteristics of:
Magnification
Numerical Aperture
Immersion choices relative to the refractive index of the media your cells/tissue are embedded
(This is a cross section of a Plan-Apochromat 100x/ 1.30 oil immersion objective may serve to illustrate such a complex lens system. The tolerances in the manufacture of the most highly corrected objectives is so critical, even the slightest hit to the objective can throw those lenses out of alignment. Please keep that in mind the next time you crash an object into the stage/slide on your microscope.
Please treat them with great care !

## Slide 26: Some Functional Parameters of the Microscope Objectives
Numerical Aperture (NA): Light-gathering ability of the objective (NA=n.sinq).
Thus, the NA is directly related to the resolving power of the lens.
Resolution: Defined as the smallest distance between two points on a specimen that can still be distinguished as two separate entities.
R = 0.61l/NA
Magnification: Product of the magnifications of objective and ocular.

## Slide 27: Specialized Types of Light Microscopes (Unstained Specimens)
Darkfield Illumination
Differential Interference Contrast (DIC)

## Slide 28
Common Light Sources
Arc lamp

## Slide 29
The Light Detectors
Resolution
Speed
Sensitivity
Interline
Back
illuminated
EMCCD
ICCD
APD
PMT
Human eye

## Slide 30: The Fluorescence Microscope (Stained Specimens)
In fluorescence, a molecule is excited to higher energy states by radiation of specific wavelengths
Imaging detector
Fluorescing dye
(Fluorophore)
Spectral Filters
Light Sources

## Slide 31: GFP (Green Fluorescent Protein)
Chalfie, Shimura,Tsien

## Slide 32: Emission of Quantum Dot
InP
InAs
2.1nm
4.6nm
460
560
730
1030
1770
Wavelength (nm)
Shimon Weiss (Chemistry)
CdSe

## Slide 33
S1
(first excited
singlet state)
S0
(ground
singlet state)
T1
(first excited
triplet state)
NON-RADIATIVE
DECAY
ABSORPTION
(10-15 sec)
PHOSPHORE-
SCENCE (>10-6 sec)
Vibrational
sublevels
}
INTERNAL CONVERSION (10-12 sec)
S2
(second excited
singlet state)
INTERSYSTEM
CROSSING
hna1
hna2
FLUORESCENCE
(10-8 sec)
hnF1
hnF2
hnF2
Electronic Transitions: Jablonski Diagram
Notes: Note: Electron is excited from an occupied molecular orbital (HOMO) by hva to a higher electronic state (LUMO)
Kic:fast, radiationless
Light emission: hvf
S0, S1: singlet states antiparallel spins (Pauli exclusion principle)
T1 (triplet): parallel spins; more stable states, long-lived
Main points:
1. Franck-Condon principle: the nuclei are stationary during electronic transitions, therefore, excitation occurs to vibrationally-excited levels of the excited electronic state.
2. Emission occurs from the lowest vibrational level of the lowest excited singlet state because relaxation from excited vibrational levels (internal conversion) is much faster than emission (10-12s).
3. Stokes shift: emission is always of lower energy than absorption due to nuclearrelaxation in the excited state (CHECK).
4. Mirror image rule: emission spectra are mirror images of the lowest energy absorption band.
Lennard-Jones potential diagram??? The L-J diagram helps to bring home the point about the Stokes shift by linking the length of the emission arrow to the degree of nuclear relaxation that occurs in the excited state before emission. If the internuclear coordinates of the excited state are much different from those of the ground state (very different vibrational levels), then the Stokes shift is large. This diagram also helps illustrate the concept that the probability of the transition between the zeroth level of either the ground or excited state and the various vibrational levels of the excited or ground state, respectively, depends on the overlap of the square of the wavefunctions of the energy levels. Once the concept of the overlap of wavefunctions has been introduced it is not difficult to explain the mirror image rule, because the form of the wavefunction in any vibrational level of the excited state is quite similar to its form in the ground state, and thus probabilities are comparable in excitation and emission (if 0-->2 for S0-S1, then 0-->2 for S1-->S0 transition)

## Slide 34: Principle of Confocal Microscopy
Non-confocal
Confocal
Focused + out-of-focus light
Out-of-focus light suppressed
An aperture (detection pinhole) allows 3D optical sectioning and suppression of out-of-focus light
Sample is scanned with point laser beam in the x- and y-directions.
The sample is moved along the optical axis (z-direction)

## Slide 35: Advanced Microscopes

## Slide 36: Super Resolution

## Slide 37: Optical Diffraction Limit
250 nm
Lens
800 nm


Abbe (1873), Arch. Mikroskop. Anat. 9, 413
d
PSF > d
PSF
d?
Problem:

## Slide 38
Microscopy at the Nanoscale: Stimulated Emission Depletion (STED)
1st physical concept to break the diffraction barrier in far-field fluorescence microscopy (Stefan Hell)

## Slide 39: Summary: STED Resolution
  Not limited any more by the wavelength of light!
  Just depends on the level of fluorescence depletion.
  Practically, diffraction unlimited resolution (lateral resolution < 90 nm)
  1st physical concept to break the diffraction barrier in far-field fluorescence microscopy with visible light and regular lenses!
  Light microscopy at the nanoscale = nanoscopy!
  New law; a modification of Abbe’s law:
  First STED microscope in the USA!
  V. Westphal & S.W. Hell (2005) Phys. Rev. Lett, 94, 143903.
confocal
STED
STED
STED
STED
STED
STED
STED
STED
STED
A threefold improvement in resolution along the x/y focal plan
→ 9 effective scanning spots created out of 1 !

## Slide 40: Application of STED
Farahani, Schibler and Bentolila (2010) Microscopy: Science, Technology, Applications and Education, Vol. II, pp 1539-1547.

## Slide 41: Saturated Structured-Illumination Microscopy (SSIM)
Use Moire pattern effect to detect diffraction limited objects.
A resolution of 100 nm in the lateral direction and 300 nm in the axial direction has been achieved.
Conventional
SIM
SSIM
Gustafsson MGL. (2005) PNAS102:13081–86

## Slide 42: Photo-activated Localization Microscopy (PALM)
Same concept as STORM but different Dyes (FPs: EoS and Dronpa)
Activate Eos with 405
Image activated Eos with 488
Activate Eos
Continue to image all Eos
5) Deactivate all Dronpa with strong 488
6) Activate Dronpa with 405
7) Image activated Dronpa
8) Continue to image all Dronpa
Cytoskeletal α-actinin and adhesion complex localized vinculin
Shroff et al, (2007) PNAS 104:20308

## Slide 43
Stochastic Optical Reconstruction Microscopy (STORM)
5 μm
5 μm
500 nm
Bates et al, Science 317, 1749 – 1753 (2007)
1 μm
5 μm
200 nm
B-SC-1 cell, Microtubules stained with anti-β tubulin Cy3 / Alexa 647 secondary antibody
█ Cy3 / Alexa 647: Clathrin, █ Cy2 / Alexa 647: Microtubule

## Slide 44: FLIM (Fluorescence Life time Imaging)

## Slide 45: Protein Folding by single pair Förster Resonant Energy Transfer (spFRET)
[GdCl] = Conformational Coordinate
G = Energy
R = Reaction
coordinate
Unfolded
Intermediate
Native
Shimon Weiss (Chemistry)

## Slide 46: Förster Resonant Energy Transfer (FRET)
nm  nsec

## Slide 47: Fluorescence Lifetime Imaging (FLIM)
Principle
  Each fluorescent dye has its own lifetime in the excited state
  In live cells, fluorescence lifetime is affected by the local environment
  FLIM is insensitive to fluctuations in fluorochrome concentration
  and excitation light intensity
  It is based on time-correlated single photon counting technology
Applications
  Mapping of local environment such as pH, oxygen, ion concentrations,
    intracellular signal transduction, FRET, and membrane potential
Confocal image
FLIM image
Lifetime of chlorophyll (Living Diatomee)

## Slide 48: High-speed Microscopes

## Slide 49
The H33D detector attaches to a standard fluorescence microscope
Laser
It will permit to track multicolor qdot-labeled proteins in live cells virtually background-free
Single Molecule Imaging
Particle Physics Detector
Nano Technology
Shimon Weiss (Chemistry)
January 2006

## Slide 50: Principle of High-speed Bio Imaging
Wide Field
Confocal
CMOS [ FADC (50 MHz) * 100 ]
[ HAPD + FADC (1 GHz) ] * 64
PMT + FADC (10 – 50 MHz)
CCD + FADC (10 – 50 MHz)
Pinhole
Sample
Sample

## Slide 51: How to speed up microscopes
All the existing microscopes are limited by the narrow bandwidth of readout.
  Just one channel of FADC (Flash Analog to Digital Converter) running at 10 – 50 MHz
  So-called Video Rate (30 frame/sec)
The first step is to adopt multiple channels of FADC for massive parallel processing.
  Like high energy experiments (such as LHC)
  In addition, we need Single Photon Sensitivity with high Quantum Efficiency.

## Slide 52: Micron 1.3M-Pixel CMOS Sensor
2 sec/row
2 msec/frame
(10 bits, 66MHz)

## Slide 53: Photron FASTCAM SA-1
5000 frame per sec
(200 nsec/row)

## Slide 54: Gold nano particle (40nm) attached to Transferrin Receptor (TfR) on Cancer Cell
Manuel Penichet (Oncology), John Miao (Physics)
10,000 frame/sec

## Slide 55: Mean Squire Displacement <r2> of TfR on a Human Multiple Myeloma Cell vs. Time
Chart: 
| 0.0250000000000002 | 0.0500000000000001 | 0.1 | 0.25 | 0.5 | 1.0 | 2.0 | 3.5 | 5.0 | 7.500000000000001 | 10.0 | 15.0 | 20.0 | 25.0 | 37.5 | 75.0
#1 | 182.0898 | 185.395 | 191.1455 | 206.141 | 229.9158 | 267.9201 | 331.6232 | 388.3482 | 449.0961 | 559.1974 | 644.0105 | 793.6082 | 947.4342 | 1114.0762 | 1414.2878 | 1543.2129
#2 | 517.3015 | 519.1742 | 527.9332 | 539.8537 | 566.6811 | 622.7347 | 732.8032 | 849.8261 | 942.3326 | 1085.85 | 1217.5743 | 1487.914 | 1749.6444 | 2434.5134 | 3300.5468 | 5504.7303
#3 | 654.6276 | 658.8383 | 660.7639 | 681.1436 | 706.5506 | 748.4981 | 820.4687 | 883.708 | 981.6638 | 1124.617 | 1278.5012 | 1486.6796 | 1623.8955 | 1770.0232 | 1837.1965 | 2952.7833
#4 | 542.7585 | 545.998 | 547.599 | 568.1659 | 596.2017 | 646.3105 | 744.3497 | 816.2125 | 884.1351 | 1000.5884 | 1192.2109 | 1498.386 | 1767.1132 | 1993.4652 | 3286.617 | 7503.0695
#5 | 59.3081 | 62.6915 | 70.7167 | 84.4352 | 114.0641 | 162.4979 | 231.8725 | 323.409 | 383.2424 | 450.4826 | 492.0409 | 573.7995 | 691.4966 | 751.2123 | 1032.436 | 1156.2712
#6 | 53.5895 | 58.9524 | 68.9436 | 87.1096 | 127.4952 | 202.8729 | 333.7514 | 471.4269 | 598.8498 | 761.3342 | 908.7393 | 1090.977 | 1133.4334 | 1218.9136 | 1292.6033 | 2282.8407
#7 | 49.8023 | 54.1111 | 62.0456 | 75.9335 | 105.8043 | 154.9079 | 242.4619 | 328.0852 | 409.6081 | 494.8841 | 581.8843 | 700.8137 | 813.0618 | 910.5955 | 1350.0752 | 1539.771
#8 | 57.6531 | 61.7647 | 69.9706 | 85.523 | 119.5891 | 179.2798 | 284.6992 | 393.5554 | 497.9444 | 613.9148 | 757.4623 | 1090.2784 | 1236.9975 | 1434.3325 | 2178.8851 | 3910.83
#9 | 66.0595 | 71.4508 | 83.531 | 104.1705 | 153.7665 | 229.815 | 363.565 | 477.9056 | 585.0063 | 734.219 | 921.3586 | 1118.7128 | 1314.033 | 1579.1665 | 2357.2309 | 4277.0383
#10 | 63.0217 | 70.9569 | 84.0059 | 106.0603 | 152.3318 | 229.2694 | 374.9445 | 482.9776 | 599.9075 | 836.8423 | 1120.52 | 1486.3367 | 1792.2854 | 2182.2242 | 2602.3343 | 2549.0741
Type A
Type B
Brownian Motion
?

## Slide 56: Arisaka’s Campus-wide Collaborations on High-Speed Bio-imaging
California Nano Systems Institute
(CNSI, Laurent Bentolila)
Dept. of Chemistry & Biochemistry
(Shimon Weiss)
Dept. of Surgical Oncology
(Manuel Penichet)
Dept. of Physics & Astronomy
(Dolores Bozovic, Mayank Mehta)
Dept. of Neurology & Neurobiology
(Carlos Portera-Cailliau,
Jack Feldman, Tom Otis)
Dept. of Electrical Engineering
(Bahram Jalali)
Industrial Partners
(Hamamatsu Photonics,
Photron, Leica)

## Slide 57: User-shared Core Facility of High-speed Microscopes at CNSI
CNSI (California Nano Systems Institute)

## Slide 58
Feb 17 (Thu)

## Slide 59: Nikon Microscope TE200E with TIRF at CNSI
Laurent Bentolila (CNSI)
CMOS Camera
Photron SA-1
5k – 500k fps

## Slide 60: Image Intensified CMOS Camera
CMOS Camera
(> 1,000 frame/sec)
GaAsP Photocathode
(50% QE)
Multi-channel
High-speed Digitization
Photron
MCP
(Micro Channel Plate)

## Slide 61
ICMOS Camera
(Photron SV200i)
EMCCD Camera
(Ando iXon 897)
Confocal Spinner
(Yokogawa CSU-X1)
High-speed Confocal Microscope with ICMOS at CNSI
Leica Microscope
(1,000 frame/s)

## Slide 62: Yokogawa CSU-X1
ICMOS
Camera
2,000 fps

## Slide 63: Frame Rate vs. Resolution
Chart: 
| 1024.0 | 512.0 | 256.0 | 128.0 | 64.0 | 32.0
SA-1 | 5000 | 20000 | 60000 | 150000 | 300000 | 500000
1024PCI | 1000 | 3000 | 10000 | 25000 | 45000 | 73000
iXon 897 | 35 | 132 | 439
Neuro-SMQ | 2000 | 5000
ORCA-R2 | 16.2 | 45.7 | 84 | 105 | 110
4-beam | 125 | 250 | 500 | 1000
64-beam | 2000 | 4000 | 8000 | 16000
CMOS (SA-1)
ICMOS (SV200i)
CCD (Neuro-SMQ)
4-beam MMM
EMCCD
(iXon 897)
CCD (ORCA)
Confocal Scanner
(Yokogawa CSU-X1)
Conventional
No. of Pixels (in X-Y)
Frame Rate (frame/sec)
New Systems
10 x 10
100 x 100
1000 x 1000
Video Rate
(Response of human eyes)
1 msec
100 µsec
10 µsec
1 µsec
10 msec
64-beam MMM

## Slide 64: 6D Bio-Imaging
  Ideally observation of Live cells requires the detection of photon intensity ( I ) in 6 dimension: I (x, y, z, , , T)
    x:
    y:
    z: Location in depth
    : Wave length of emitted photons
    : Time delay of emitted photons after excitation
    T: Frame rate.
  Photo-detectors have lower dimension:
    PMT: I(T) at 50 MHz
    CCD: I(x, y, T) at 30 Hz
    CMOS: I(x, y, T) at 5 kHz
  Therefore, “compactification of extra dimension” is required.

## Slide 65: Applications to Neuroscience

## Slide 66: Brain Universe
New York Times 8/21/2006
100 Billions Galaxies
100 Billions Neurons

## Slide 67
Ca2+ Signal in cultivated Rat’s Brain by Confocal Microscope

## Slide 68: Comparison of Imaging

## Slide 69: High-speed observations

## Slide 70: Neural Networks for Breathing
~300 neurons in rat’s brain (pre-Botzinger Cells) responsible for breathing
Jack Feldman (Neurobiology)
Nature by Naohiro Koshiya (1999)

## Slide 71
High-speed Ca2+ Imaging of pre-Botzinger Cells of Rats
Jack Feldman (Neurobiology)
1,000 frame/sec

## Slide 72: Sensory Input and Decision Making in Brain

## Slide 73: Human Eyes
~100M photo receptors
540M years ago（Cambria explosion）

## Slide 74: Human Ears
~10,000 Hair Cells
~50M years ago

## Slide 75: Anatomy of Inner Ear
Cross-section of the cochlear
Human auditory system
Hair bundle
Molecular mechano-transduction machinery
Meredith LeMasurier and Peter G. Gillespie, Neuron, Vol. 48,2005
Dolores Bozovic (Physics)

## Slide 76
A. J. Hudspeth, Rockefeller University
Hair cell, bullfrog sacculus
Hudspeth, A. J. & Gillespie, P. G., Neuron 12:1-9 (1994).

## Slide 77
CMOS Camera
(Photron SA-1)
EMCCD Camera
(Andor iXon 897)
Microscopes
Objective
Dolores Bozovic’s Lab (Physics)

## Slide 78: Mechanical Motion of Hair Cells in Inner Ear
1,000 frame/sec
Dolores Bozovic, Lea Fredrickson (Physics)

## Slide 79: Neural Networks

## Slide 80
Nature vs. Nurture
Nature
Nurture

## Slide 81
Thalamus
Subcortical areas
4
2/3
5
6
The Cerebral Cortex
7
Conscious
Unconscious

## Slide 82
Miller, 1981
Assembly of rat’s cortical circuits during development
How/when do neurons establish networks?  Symmetry Breaking
Carlos Portera-Cailliau (Neurology)

## Slide 83: Mutiphoton Microscope
880 nm
440 nm
500 – 600 nm
Two Photon Excitation
Conventional
Confocal
500 – 600 nm

## Slide 84: Absorption of light
1cm
1mm

## Slide 85: Neural Network in Vivo 3D image by two photon microscope

## Slide 86: Neural Network 3D image by two photon microscope
Cortical neurons in a fixed, 100 um-thick brain slice from a transgenic mouse with sparse neuronal GFP expression. Left: Mosaic of 81 high-resolution image stacks acquired on a 2-photon laser-scanning microscope, part of a larger data set spanning several consecutive brain slices. Right: Individual stack from this data set, containing a GFP-expressing cortical layer 2/3 pyramidal neuron. Its dendritic (cyan) and axonal (magenta) compartments were identified and traced within the 3D data containing many other neuronal structures, some of which appear to make contact with the highlighted cell. Images: Miguel Vaz Afonso.

## Slide 87
4 Beams
240 frame/sec
Adrian Cheng (Physics)
HAPD #1
HAPD #2
Spatio-Temporal Excitation-Emission Multiplexing (STEM) Microscope
0 ns
+3 ns
+6 ns
+9 ns
16 kHz
80 MHz
(100 fs pulse)
1 kHz

## Slide 88
Surgery to Open a Cranial window
Prof. Carlos Portera-Cailliau

## Slide 89
In vivo calcium imaging of neuronal activity

## Slide 91: UCLA Newsroom on January 11, 2011

## Slide 92: Future Directions

## Slide 93: Virtual Reality Experiment on Awake Rats
Olfactory
Stimulator
Mayank Mehta
Daniel Aharoni
Bernard Willers
(Physics)

## Slide 94: GRIN-based Two photon excitation Endoscope
Mark Schnitzer (Stanford)

## Slide 95: GRIN 2PE Endoscope
Mark Schnitzer (Stanford)

## Slide 96: Optogenetic Excitation of Neurons
Karl Deisseroth (Stanford)
Excitation by
Channelrhodopsin-2
(ChR2)
Inhabitation by
Halorhodopsin
(NpHR)

## Slide 97: Outer world vs. Inner word
Outer world : Five senses  Manipulate by Virtual Reality
  Vision
  Sound
  Touch
  Smell
  Taste
Inner world  Manipulate by Photo Excitation of single neurons
  Neural network in brain
Establish direct link between Inner world & Outer world
  Control outer world – Virtual reality
  Control inner world – Neural reality

## Slide 98: Voltage Sensing Dye by FRET
Tom Otis (Neurobiology)
DiO
DPA

## Slide 99: Voltage Sensing Dye
Tom Otis (Neurobiology)

## Slide 100: LCOS (Liquid Crystal on Silicon) for SLM (Spatial Light Modulator)
Optical Tweezers
Hamamatsu

## Slide 101: Ca2+ Signal in cultivated Rat’s Brain by Confocal Microscope
Photo Excitation
SLM + Voltage Sensing

## Slide 102: Summary

## Slide 103
Seven Phases of Cosmic Evolution
14 billion years ago
Origin of
Particles
Origin of
Structure
Origin of
Life
Origin of
Consciousness

## Slide 104
Seven steps of cosmic evolution
14B years ago
Simple
Coherent Complex System
Spontaneous Symmetry Breaking

## Slide 105
Accelerator
Microscope
Telescope
Seven steps of cosmic evolution
14B years ago
Spontaneous Symmetry Breaking

## Slide 106: Four Major Science
Origin of Particles
Particle Physics
Origin of Universe
Cosmology
Origin of Life
Molecular Biology
Origin of Consciousness
Neurophysics

## Slide 107: Concluding Remarks
Life, in particular, our brain is a complex system in 4 dimensional space-time.
  Emergent property
  Strongly interacting
Countless “spontaneous symmetry breakings” during the evolutional and developing process of life
Fully controlled experiments by “Virtual Reality” under way.
  Outer world (environment) vs. Inner world (brain)
“Super-resolution high-speed 4D imaging” may reveal the fundamental principle of the most complex system in nature – our brain.
  How can life overcome thermal fluctuation?
  Networks in a cell and between cells (neurons)